## Sheet1
Date | Parti_ID | Age | Righthanded (1=yes, 0=no) | Gender | Experimenter | Stimuli_set | Distractor (yes=1 no=0) | Distractor_set | Task_Version | Time_Start | Time_End | Signal Quality | Other Comments | Speakers | Triggers Issues? | Stategy | Preprocessing
2022-01-17 | pil001 | 33 | 1 | F | Anna F, Juan L | 1 | 1 | 2 | MemorEEG_distractor_00 | 10:00 | 13:30 | verz good | This is a pilot. | Speakers Cabin 4 | An extra trigger after the distracor needs to be removed
2022-01-20 | pil002 | 36 | 1 | M | Gabriele I, Anna F | 2 | 0 | 3 | MemorEEG_distractor_00 | 10:00 | 13:30 | good | This is a pilot. | Speakers Cabin 4 | We have an error when calculating the bonus and the experiment crashed. So we lost the Eye data.
2022-02-04 | p001 | 22 | 1 | F | Anna F | 1 | 1 | 2 | MemorEEG_distractor_00 | 9:00 | 13:20 | some electrodes were hard to prep (P4, PO4 and O2), FT9 acting up after she put down her mask (11:20), but fixed again | both english and german instruction, less motivated in the end and many fixation messages, told her several times to focus on the middle point but did not change | Speakers Cabin 4 | many fixation messages - chose wrong number in matlab, so this was wrong |  | pretty tensed neck (electrodes p8-po10), from 300-317 very noisy, ft9 super noisy, 610-653 very noisy, 1260-1332 very noisy
2022-02-04 | p002 | 26 | 1 | F | Anna F | 1 | 0 | 2 | MemorEEG_distractor_00 | 13:50 | 18:20 | EKG weird, F6 acting weird (16:05) then dead, generally a bit noisy | was tired in the end and told her to focus on the middle but she really struggled with this | Speakers Cabin 4 | many fixation messages - chose wrong number in matlab, so this was wrong
2022-02-09 | p003 | 25 | 1 | M | Anna F | 2 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 12:45 | P4 dead | we were unsure if the fixation message is working, so we told him to only fixate and not do the task (beginning of third block), fixation message turns out to be broken. In the end a lot of eye-movements | Speakers Cabin 4 | many fixation messages - chose wrong number in matlab, so this was wrong
2022-02-09 | p004 | 23 | 1 | M | Anna F | 2 | 0 | 3 | MemorEEG_distractor_00 | 13:45 | 17:45 | TP9 weird and ecg fucked up, also in the end very noisy |  | Speakers Cabin 4
2022-02-18 | p005 | 31 | 1 | M | Anna F | 3 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 12:45 | P4 dead | a bit tired inbetween, but good accuracy and good signal | Speakers Cabin 4
2022-02-21 | p006 | 25 | 1 | F | Gabriele I | 3 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 18:00 | AF3 noisy, ECG noisy (but R peaks clearly visible), F4 & F6 show small spikes (around 10/s) |  | Speakers Cabin 4
2022-02-22 | p007 | 36 | 0 | M | Gabriele I | 1 | 1 | 3 | MemorEEG_distractor_00 | 10:20 | 15:10 | P4 inactive, TP9 and TP7 noisy (spikes), EOG & ECG noisy, every once in a while the whole signal very noisy - smth with the behaviour of the participant | At the start: technical issues (audio not woking, a typo in the script), so the participant stayed almos 5 h (was payed 10 € more)) | Speakers Cabin 4
2022-02-23 | p008 | 30 | 1 | F | Gabriele I | 1 | 0 | 3 | MemorEEG_distractor_00 | 9:00 | 13:20 | P4 inactive, ECG noisy (but R peaks visible), eye data a bit noisy, othewise good signal |  | Speakers Cabin 4
2022-02-25 | p009 | 26 | 1 | M | Anna F | 2 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 12:45 | F6 weird, tried to fix it in the break but then it was dead | in the end very tired. Forgot to press stop in the recording | Speakers Cabin 4 | again many but not all the time fixation messages
2022-02-25 | p010 | 32 | 1 | M | Anna F | 2 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 17:45 | ecg first available then dead / weird |  | Speakers Cabin 4
2022-02-28 | p011 | 23 | 1 | F | Gabriele I | 3 | 1 | 2 | MemorEEG_distractor_00 | 14:00 | 18:30 | P4 inactive, ECG noisy (small R-peaks recognisable), some channels noisy for some time, but not thoughout all recording (e.g. TP8 spiky, Pz noisy at the end) | Payed for an extra half hour (participant needed a very longbreak in the middle) | Speakers Cabin 4 | Srategy: using finger combinations/positions for the oientations
2022-03-04 | p012 | 25 | 1 | F | Anna F | 3 | 0 | 2 | MemorEEG_distractor_00 | 8:45 | 13:45 | P4 inactive, ecg noisy | started the recording one second after starting of participant, she was very tired and exhausted due to the task so she took many breaks inbetween. Struggeled the most with the cupboard | Speakers Cabin 4
2022-03-07 | p013 | 25 | 0 | M | Gabriele I | 1 | 1 | 2 | MemorEEG_distractor_00 | 13:00 | 17:20 | P4 inactive, T7 and C3 at some point were getting noisy, eyetracker: very hard to calibrate, a lot of fixation messages, the eye in the last block was sometimes apparing blury and not posible to track | stoped recording before the last trigger (S45) appeared, created local subfolder 'data_eyelink' before the experiment | Speakers Cabin 4
2022-03-14 | p014 | 28 | 0 | M | Gabriele I | 1 | 0 | 2 | MemorEEG_distractor_00 | 9:20 | 13:40 | P4 inactiveTP7 spiky, ECG: only dips visible, not R-waves, eyetracker: in the last block often difficulty to follow the eye |  | Speakers Cabin 4
2022-03-14 | p015 | 25 | 1 | M | Gabriele I | 2 | 1 | 3 | MemorEEG_distractor_00 | 14:00 | 18:20 | P5 inactive, P8 noisy at times, from 8th block on: AF7 and FT10 noisy sometimes (participant opened the cap to take off the mask) |  | Speakers Cabin 4
2022-03-18 | p016 | 29 | 1 | F | Anna F | 2 | 0 | 3 | MemorEEG_distractor_00 | 8:30 | 12:00 | P4 inactive | tension in the neck, I told her to try to relax the neck muscles after the first trial and that helped | Speakers Cabin 4
2022-03-18 | p017 | 34 | 1 | M | Anna F | 3 | 1 | 1 | MemorEEG_distractor_00 | 14:00 | 17:30 | F3 acting weird sometimes | did not want to take breaks, but also performed very well the whole time | Speakers Cabin 4
2022-04-01 | p018 | 34 | 1 | M | Anna F & Anouk B | 3 | 0 | 1 | MemorEEG_distractor_00 | 9:00 | 12:35 | P4 inactive | very tired in the beginning | Speakers Cabin 4
2022-04-04 | p019 | 31 | 1 | M | Gabriele I & Anouk B | 1 | 1 | 3 | MemorEEG_distractor_00 | 9:05 | 13:05 | P4 inactive; sometimes signal very noisy, sometimes low frequency waves, a number of electrodes show spiky signal |  | Speakers Cabin 4 | sometimes fixation messages without apparent reason (no eye movement and no blinks shown in Eyeling computer) - particiapnt complains to be strongly distracted by them; the calculation for bonus is not finished at the end - the screen froze and did not quit (an accidental typo in RestrictKeysForCheck([]) )
2022-04-04 | p020 | 24 | 1 | D | Gabriele I & Anouk B | 1 | 0 | 3 | MemorEEG_distractor_00 | 14:00 | 17:15 | P5 inactive; signal gets spiky sometimes | unfortunatelly, EEG data was not recorded due to a human error, participant: good accuracy and fast | Speakers Cabin 4 | from the middle of experiment complains that sometimes fixation messages without apparent reason (distracting) - seems to be the case
2022-04-05 | p021 | 26 | 1 | M | Gabriele I | 2 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 13:20 | P4 inactive | excelent accuracy, long breaks | Speakers Cabin 4 | from the middle of experiment complains that sometimes fixation messages without apparent reason (distracting) - no eye movement are to be seen in the camera view, but Eyelink shows blinks
2022-04-05 | p022 | 33 | 1 | F | Gabriele I | 2 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 18:15 | P5 damaged (only electrical noise),P8 drifts away someimes, because participand was scratching that area (the mask feels tensed and uncomfortable); F6 somewhat noisy, in geneal many spiky channels | good accuracy and fast | Speakers Cabin 4 | from the middle of experiment complains that sometimes fixation messages without apparent reason (distracting) - seems to be the case
2022-04-06 | p023 | 22 | 1 | F | Anna F | 3 | 1 | 2 | MemorEEG_distractor_00 | 9:00 | 13:00 | P4 dead, ecg weird | taking many breaths which lead to drifts | Speakers Cabin 4 |  | memorized colors
2022-04-06 | p024 | 20 | 1 | F | Anna F | 3 | 0 | 2 | MemorEEG_distractor_00 | 13:00 | 18:00 | really good to prep, but then really noisy signal |  | Speakers Cabin 4 |  | tried to remember the object in words, for example "house" and position with finger #
2022-04-07 | p025 | 24 | 1 | M | Gabriele I | 1 | 1 | 2 | MemorEEG_distractor_00 | 9:50 | 12:50 | P4 alive | good and fast | Speakers Cabin 4 | from the middle of experiment complains about fixation messages without apparent reason - no eye movements and no blinks can be seen in the eye tracking camra view and coordinates, towards the end at almost each trial
2022-04-07 | p026 | 22 | 1 | F | Gabriele I | 1 | 0 | 2 | MemorEEG_distractor_00 | 14:00 | 18:20 | F6 appears inactive (very minimal activity), T7 very spiky, other electrodes at times spiky/noisy | good performance | Speakers Cabin 4
2022-04-08 | p027 | 25 | 1 | F | Gabriele I | 2 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 13:10 | P4 inactive | excelent performance | Speakers Cabin 4 | in the middle of the experiment, the eyetracker coordinate values were often jumping up (without eye movement), sometimes also in ealier blocks - I asked the participant to lower the mask, so it's not in camera view - which stopedt it from happening | strategy: imprints of the objecs, the direction conceptualised in regards to a quadrant of to a two-dimensional axis
2022-04-08 | p028 | 25 | 1 | F | Gabriele I | 2 | 0 | 3 | MemorEEG_distractor_00 | 14:00 | 17:45 | P5 inactive, signal somwhat noisy at first, then good | excelent performance, fast | Speakers Cabin 4
2022-04-11 | p029 | 22 | 1 | F | Anna F | 3 | 1 | 1 | MemorEEG_distractor_00 | 9:15 | 13:15 | good signal | many fixation messages from block 6, without a reason, she said it disturbed her | Speakers Cabin 4 |  |  |  | x
2022-04-20 | p030 | 25 | 1 | F | Anna F & Anouk B | 3 | 0 | 1 | MemorEEG_distractor_00 | 8:45 | 12:50 | P4 dead | put glasses back on after prep and it was right under ft10 and ft9, signal seemed good so we continued, eye tracking was weird during trial | Speakers Cabin 4
2022-04-20 | p031 | 29 | 1 | F | Anna F & Anouk B | 1 | 1 | 3 | MemorEEG_distractor_00 | 14:00 | 17:50 | P5 dead | fixation message displayed alot even if eye tracking seems to show no eye movements, before the last block she needed to go to the toilet | Speakers Cabin 4
2022-05-02 | p032 | 22 | 1 | F | Gabriele I | 1 | 0 | 3 | MemorEEG_distractor_00 | 9:00 | 13:00 | P4 inactive, T7, C3 noisy, sometimes some other channels too |  | Speakers Cabin 4 |  | verbally memorises object, memoriss direction as imprint (although not sure - says it is intuitive)
2022-05-09 | p033 | 21 | 1 | M | Gabriele I | 2 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 13:10 | P4 inactive | Eye tracker was not fixating on the eye despite all attempts. After block 1, the script was restarted using the same participant ID and sarting from trial 61. The EEG data was recorded continuously (block 1 + from trial 61 onwards). There is an additional behavioural file containing block 1 only (saved before rerunning the script). good and fast participant. | Speakers Cabin 4
2022-05-12 | p034 | 26 | 1 | F | Anna F & Anouk B | 2 | 0 | 1 | MemorEEG_distractor_00 | 9:00 | 13:33 | P4 inactive | Tracking right eye because left eye was not working (really strong reflexion, due to this fixation message after every object, shown, eye was lost at the end of the second block, then again in the next blocks, very perfectionist participant: tends to tense up when she did sth wrong, generally tenses up every now and then; participants mentioned that she has concentration problems since having Covid (january 2022), | Speakers Cabin 4
2022-05-12 | p035 | 26 | 1 | F | Anna F & Anouk B | 3 | 1 | 2 | MemorEEG_distractor_00 | 14:00 | 17:50 | good | good accuracy and fast, slightly tired and more blinks towards the end | Speakers Cabin 4
2022-05-13 | p036 | 29 | 1 | F | Gabriele I | 3 | 0 | 2 | MemorEEG_distractor_00 | 9:15 | 13:15 | P4 inactive, ECG: only dips visible | took lenses aout and put hem back in hroughoutthe experiment - seemed to not affect the eye tracking | Speakers Cabin 4 |  | felt very bored, actively thought about oher things to enterntain herself
2022-05-13 | p037 | 24 | 1 | F | Gabriele I | 1 | 1 | 2 | MemorEEG_distractor_00 | 13:50 | 17:50 | P5 inactive, ECG: only dips visible. O2, P10 appared inactive too - the cap was not tight around the edge and did not have contact to the scalp at these areas (despite taking a lot of time to cap, I couldn't fix this) |  | Speakers Cabin 4
2022-05-19 | p038 | 25 | 1 | M | Anna F & Anouk B | 1 | 0 | 2 | MemorEEG_distractor_00 | 9:00 | 13:00 | P5 inactive / weird |  | Speakers Cabin 4
2022-05-19 | p039 | 27 | 1 | F | Anna F & Anouk B | 2 | 1 | 3 | MemorEEG_distractor_00 | 14:00 | 17:30 | P4 inactive | she had a lot movement in her face and frowned sometimes and it showed in the EEG, we told her to try and relax and it was better in the end | Speakers Cabin 4
2022-06-07 | p040 | 28 | 1 | M | Anouk B. & Juan L. | 2 | 0 | 3 | MemorEEG_distractor_00 | 9:00 | 12:50 | T7, T8, TP7 and TP8 noisy, ossibly ue to the mask pulling and putting pressure onto the face, participant was mentioning this; ECG only dips visible | generaly good accuracy and fixation, started yawning during the second half and got a few artefacs due to that, I mentioned the noise and he did reduce moving and yawning to an extent but did not manage to stop completely. We started the real task without recording the EEG signal, we saw this after few seconds and restarted the task (removing previous generated files to avoid any problem) | Speakers Cabin 4
2022-06-07 | p041 | 33 | 1 | F | Anouk B. & Juan L. | 3 | 1 | 1 | MemorEEG_distractor_00 | 14:00 | 18:20 | VEOG seemed inactive or bad signal | blinking increased during second half, very fast, | Speakers Cabin 4 |  | verbally memorised object
2022-06-08 | p042 | 23 | 1 | M | Anna F | 3 | 0 | 1 | MemorEEG_distractor_00 | 9:00 | 13:30 | P6 broken | sometimes a short, heavy breath, talking at 01:25, at some point again fixation messages the whole time, at 01:55 eyetracking lost | Speakers Cabin 4 |  | verbally memorised object, tried to imagine 4 quarters and tried to remember with hands
2022-06-13 | p043 | 27 | 1 | M | Anouk B. | 1 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 13:30 | F6 dead/super noisy, ECG only dips visible | many short breaks | Speakers Cabin 4 |  | verbally memorised object + he memorised the orientation by moving his tongue in the orientation of the object
2022-06-13 | p044 | 25 | 1 | F | Anouk B. | 1 | 0 | 3 | MemorEEG_distractor_00 | 14:00 | 17:45 | F7 dead? And T7 noisy | mentioned she was tired, had good accuracy though and only took a few short breaks | Speakers Cabin 4 |  | verbally memorised object
2022-06-20 | p045 | 23 | 0 | F | Anouk B. | 2 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 12:45 | ECG only dips visible | generally good accuracy and signal, some minor noise du to muscle tension (mentioned she was clenching her teeth but corrected it herself), got very red eyes after a couple of trials, didnt take a lot of breaks | Speakers Cabin 4 |  | verbally memorised items but felt that this hindered her remembering the orientation
2022-06-14 | p046 | 30 | 1 | M | Anna F | 2 | 0 | 1 | MemorEEG_distractor_00 | 9:15 | 13:35 | F6 dead / noisy | struggled a lot with the task, took many breaks, made many comments on how to improve the task, was very tired | Speakers Cabin 4 |  | verbally memorised object
2022-06-20 | p047 | 26 | 1 | M | Anouk B. | 3 | 1 | 2 | MemorEEG_distractor_00 | 14:15 | 17:45 | good | came a little late, had to be somewhere afterwards and was a bit in a hurry because of it, got tired pretty quickly and had a lot of fixation message (I assume mostly due to blinks but the eye tracking might have had issues as well: the threshold for the target might have been an issue, the area around the target was blue on the eye tracking display which might have made things worse, also his head position changed slightly during individual trials) albeit the not so good fixation his accuracy was very good, nearly fell asleep a couple of times towards the end especially | Speakers Cabin 4
2022-06-30 | p048 | 21 | 1 | F | Aleksandra Z. & Anna F. | 3 | 0 | 2 | MemorEEG_distractor_00 | 14:10 | 17:45 | little bit noisy overall, F6 extremely inconsistent - sometimes normal, sometimes noisy or dead | fixation message displayed alot even if eye tracking seems to show no eye movements, but not all the time, after a short break it was better, but then it came back again. Hasnt made a lot of pauses, bc "helps concentrate better", felt like it was automatic at some point | Speakers Cabin 4 |  | verbally memorised
2022-07-04 | p049 | 32 | 1 | F | Anouk B. | 1 | 1 | 2 | MemorEEG_distractor_00 | 14:20 | 15:50 | signal was very noisy | participant seemed drunk/unwell and fell asleep constantly, pupil was very small which made eyetracking nearly impossible, participant was sent home after 1.5 hours and payed 15 Euros. No data was collected. | Speakers Cabin 4
2022-07-11 | p050 | 28 | 1 | M | Anouk B. | 1 | 0 | 2 | MemorEEG_distractor_00 | 9:00 | 13:20 | P8 dead most of the time, ECG dead (body hair might have been the issue), HEOG potentially also dead, signal noisy at times, seemed to be due to muscle activity | participant usually wears glasses but the eyetracker kept measuring a reflection on the glasses as the corneal reflection, after a couple of trials changing the position and angle of both the chinrest and the eyetracker the participant removed the glasses, unfortunately the eytracker kept having problems and the calibration showed very high values even if the fixation looked fine judging from the eyemovement, the position of both the eyes and the target kept moving around on the screen as if the eyetracker was searching for the eyes, I started recording EEG data but aborted the first trial after the eye calibration because of the eytracking data (files are called p050aborted) also a red cross appeared on the screen displaying the whole face, participant had trouble understanding the task and repeated the instructions, still during the real task the overall accuracy was not very good, often there would either be a good orientation or the correct item selected but he seemed to have trouble remembering both orientation and object, he said he has trouble pressing the correct buttons but it seemed to me like a concentration issue, it looked like he sometimes did a good job and on other trials just randomly pressed button (for example he kept turning one object continuously until the end of that trial), I checked the eyetracking after the participant was gone and it seemed to work fine for me | Speakers Cabin 4
2022-07-12 | p051 | 28 | 1 | F | Anouk B. | 2 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 13:20 | P8, O2 and AF8 dead at times, HEOG dead? | many blinks and moved the head around which led the eyetracker to lose the signal in the second trial, eyetracking was therefore difficult with this participant, accuracy was good, I had technical issues at the beginning of the day due to the script not being able to call on the audio devices which meant that we went over time by a little | Speakers Cabin 4
2022-07-12 | p052 | 35 | 1 | F | Anouk B. | 2 | 0 | 3 | MemorEEG_distractor_00 | 14:10 | 18:15 | VEOG seemed inactive or bad signal | participants wears glasses, slight movements sometimes made the eyetracker lose her eye, fixation messages appeared a lot during instructions but improved a lot during the actual task, still the participant blinked a lot!, participant is slightly claustrophobic so we left the door open during testing, participant had to go to the toilet after the second to last trial | Speakers Cabin 4
2022-07-14 | p053 | 26 | 1 | F | Aleksandra Z. & Anna F. | 3 | 1 | 1 | MemorEEG_distractor_00 | 8:55 | 13:55 | very good, only the electrodes at the ears (T7 und T8) were a bit noisy in the beginning. Both stabilized at the end | control box was going on and off when preparing (we were using the different electrode set with the small hole to prep and not sure if it was the box or the electrodes). again, in the second half the fixation message appeared a lot. | Speakers Cabin 4 |  | memorised a clock and remembered times
2022-07-14 | p054 | 25 | 1 | M | Aleksandra Z. & Anna F. | 3 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 17:35 | Fp2 first noisy then almost dead, a lot of noise and distortion on P8 | clenches teeth a lot; big strain for his eyes. Connection lost at 16:44, see error message in folder. We tried everyhing, disconnecting and connecting again, exchanging batteries, checking all the cables. It always worked for a few seconds until the message appeared again.. had to abort after block 7 | Speakers Cabin 4 |  | looks at the fixation point all the time, tries to remember the locations of dark and light spots in his peripheral vision and recreate orientation from those. Took a candy "to stimulate motivation" after every round of the last 3
2022-07-18 | p055 | 18 | 1 | M | Anouk B. | 1 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 13:00 | signal very good (used the electrodes with the little holes), HEOG very noisy only at certain times | very good accuracy, still mentioned that he found the task very exhausting | Speakers Cabin 4
2022-07-18 | p056 | 26 | 1 | F | Anouk B. | 1 | 0 | 3 | MemorEEG_distractor_00 | 13:50 | 17:20 | slightly noisy, VEOG was dead at first and only started working after I plugged the electrodes out and in again | fixation messages started to increase towards the end, most likely due to an increase in blinks | Speakers Cabin 4
2022-07-19 | p057 | 25 | 1 | F | Anna F. | 2 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 13:00 | very good but horizontal eog dead | many fixation messages again, but in general good signal and accuracy | Speakers Cabin 4 |  | tried to remember colors of the objects
2022-07-25 | p058 | 25 | 0 | F | Anouk B. | 2 | 0 | 1 | MemorEEG_distractor_00 | 8:55 | 12:50 | signal generally good, AF4 dead, ECG: only dips visible | forgot to stop the reording after the experiment: EEG data is therefore unnecessarily long, some fixation messages at the beginning, either due to lacking concentration or blinks, when she put more effort into it the fixation messages decreased, some teeth clenching moments when she made mistakes, blinking increased over time, accuracy improved over time, participant mentioned she got tired during the second half | Speakers Cabin 4
2022-07-26 | p059 | 34 | 1 | F | Anna F, Aleksandra Z | 3 | 1 | 2 | MemorEEG_distractor_00 | 14:00 | 18:00 | very low impedance at all electrodes, still the signal appeared to be noisy; F5 dead; problems with P6 (dead/noisy) | had problems with the eyetracking, because she had glasses she could not remove, so fixation messages the whole time and we could not start the experiment, only when moving the camera extremly; blinks quire a lot; still a lot of fixation messages even with eyetracker calibrated with glasses on; occasionally intuitively tips "up" when wants to return to previous object | Speakers Cabin 4 |  | more of an intuitive approach; also imagines objects floating relative to the floor
2022-07-28 | p060 | 25 | 1 | F | Aleksandra Z. & Anna F. | 3 | 0 | 2 | MemorEEG_distractor_00 | 9:00 | 13:00 | very good signal, but F3 and HEOG acting weird | 11:15: some equipment fell in the 4th block, participant was a bit surprised, but everything went well (was only the boxes for audio) | Speakers Cabin 4 |  | tried to remember a clock aswell and the upper part of the object as an extended line
2022-08-04 | p061 | 32 | 1 | F | Aleksandra Z. & Juan L. | 1 | 1 | 2 | MemorEEG_distractor_00 | 9:05 | 13:05 | F3 no signal, AF3 first very noisy, then gained good signal, P6 shortly died, overall looking good | participant wears glasses - sometimes eye tracker not ideal: stabilizes over time then loses pupil again, fixate messages often | Speakers Cabin 4
2022-08-04 | p062 | 19 | 1 | F | Aleksandra Z. & Juan L. | 1 | 0 | 2 | MemorEEG_distractor_00 | 14:00 | 17:55 | AF4 no signal; overall great | performs extremely good, needs little pause | Speakers Cabin 4 |  | thought about finding a strategy but decided for an intuitive approach; started imagining circle segments later
2022-08-05 | p063 | 26 | 1 | F | Aleksandra Z. | 2 | 1 | 3 | MemorEEG_distractor_00 | 8:50 | 13:40 | AF4 suspiciously weak signal; overall great | lid naturally covers the pupil - a lot of fixation messages. First block EEG lost (human error). 11:26 needed to go to the toilet after 174 trials), 11:45 continued. Got tired quickly but held strong till the very end | Speakers Cabin 4
2022-08-05 | p064 | 23 | 1 | F | Aleksandra Z. | 2 | 0 | 3 | MemorEEG_distractor_00 | 14:00 | 18:00 | great eeg signal | still a lot of fixate messages (she focuses real well though). Needed almost no pause, got very tired by the end and started to blink a lot | Speakers Cabin 4
2022-08-08 | p065 | 25 | 1 | M | Anouk B. | 3 | 1 | 1 | MemorEEG_distractor_00 | 9:00 | 12:45 | AF4 no signal; overall great, pp cleared his throat a couple of times leafin to artifacts | participant mentioned he has 7 heart conditions, ECG was looking fine nevertheless, very good accuracy from the beginning, during the second half of the first trial the fixate message appeard all the time which distracted him alot leading to lower accuracy, during the following trials the message unfortunately continued showing all the time, I spoke to the participant about it but the eyetracking data looked fine for the most part and he reassures me that he was looking in the middle, the vertical line of the eyetracking looked very noisy at times, and maybe showed very minor little movements, I asked the participant during the 5th block to concentrate only on the eyes but unfortunately there was no improvement, his accuracy was still very good but he mentioned that the fixate message was very distracting, the issues might have occured due to an imperfect pupil threshold | Speakers Cabin 4
2022-08-08 | p066 | 25 | 1 | M | Anouk B. | 3 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 17:30 | AF4 no signal, VEOG no or very weak signal?, CP4 dead, ECG only dips visible | accuracy very good, he got sleepy at times so his eyes closed and he missed one or two trials but even then his accuracy was very good | Speakers Cabin 4
2022-08-09 | p067 | 26 | 1 | M | Anouk B. | 1 | 1 | 3 | MemorEEG_distractor_00 | 9:00 | 12:30 | AF4 no signal; overall great, ECG only dips visible, some teeth clenching or other activity leading to artifacts | exellent accuracy, very quick, started to blink more during the last few blocks and got a few fixation messages because of it but not too many | Speakers Cabin 4
2022-08-10 | p068 | 27 | 1 | M | Aleksandra Z. | 1 | 0 | 3 | MemorEEG_distractor_00 | 8:45 | 13:30 | AF4 suspiciously weak signal; EOG extremely weak (VEOG with visible heartbeat?); overall great signal and extremely precise eyetracker readings even with glasses; TP8 sometimes gets noisy | very good at task; got tired at 50% and needed a pause after every 1-2 blocks | Speakers Cabin 4 |  | remembers position of the objects according to a clock position
2022-08-10 | p069 | 20 | 1 | M | Aleksandra Z. | 2 | 1 | 1 | MemorEEG_distractor_00 | 14:00 | 18:30 | F3 dead, otherwise good signal; lots of fixate messages after the first block | thick hair, long preparation; pupil dilates and shrinks back in waves, constantly (says he sometimes loses focus - could be connected to fixate messages); makes pause after every block | Speakers Cabin 4 |  | has no distinct strategy; rotates objects as feels right
2022-08-11 | p070 | 21 | 1 | F | Aleksandra Z. | 2 | 0 | 1 | MemorEEG_distractor_00 | 8:45 | 13:00 | some fixation messages in the beginning but overall great; A4 dead/weak, CP4 noisy in the beginning | had a night shift and little sleep; had an energy drink in the morning. Fast and easy preparation :) performs great but her eyes get tired quickly - needs a pause after every block; recalibrated eye tracker after block 6 (trial 348). Got extremely tired closer to the end, started drifting away | Speakers Cabin 4 |  | remembered colors of the objects, also their position relative to the fixation point (e.g. top right, bottom left)
2022-08-11 | p071 | 35 | 1 | M | Aleksandra Z. | 3 | 1 | 2 | MemorEEG_distractor_00 | 14:05 | 18:00 | HEOG weak/no signal; F1 and F5 dead or noisy | performs extremely good, makes little pauses every 2-3 blocks. Wears glasses but eye-tracker is functioning perfectly. | Speakers Cabin 4 |  | discovered some correlations in how the objects are placed by the program: sometimes 100% accuracy, sometimes exactly 87,5% and so on
2022-08-15 | p072 | 21 | 1 | M | Aleksandra Z. | 3 | 0 | 2 | MemorEEG_distractor_00 | 13:55 | 17:50 | HEOG very noisy or dead, AF4 dead/weak signal; VEOG began very noisy but looks very good in 95% of time | needs a pause for the eyes after every block, but a very short one; some general muscle tension and teeth grinding, especially in the second half; started to blink a lot at the end | Speakers Cabin 4 |  | focuses on the point and "lets the brain do the job"; takes small pauses for the eyes but does not let himself relax too much and lose concentration
2022-08-16 | p073 | 25 | 1 | F | Aleksandra Z. | 1 | 1 | 2 | MemorEEG_distractor_00 | 8:55 | 12:55 | HEOG noisy! FC5 acts weird after 50%, F3 dead after 80% | goes quick and makes little pause; strong improvement over the first 3 blocks; eyes got tired in the process, finds the occasionally appearing fixate message irritating for the concentration | Speakers Cabin 4
2022-08-16 | p074 | 31 | 1 | F | Aleksandra Z. | 1 | 0 | 2 | MemorEEG_distractor_00 | 13:50 | 17:30 | AF4 deaf, first try with new EOG set - great performance | performs excellent - fast, focused, clean signal, only one pause to drink after 50%, feels good throughout the experiment | Speakers Cabin 4
2022-08-17 | p075 | 26 | 1 | F | Aleksandra Z. | 2 | 1 | 3 | MemorEEG_distractor_00 | 13:55 | 17:55 | FT7, AF4 weak signal | went to the toilet after preparation, all the impedances were checked again afterwards. some rare teeth clenching; strong participant, good signal, barely any fixation messages - very happy with this one. Finds the task interesting and has only made a single pause | Speakers Cabin 4
2022-08-18 | p076 | 28 | 1 | M | Anna F. | 2 | 0 | 3 | MemorEEG_distractor_00 | 9:10 | 13:00 | AF4 dead | did not need many breaks, said he was a bit tired at some point | Speakers Cabin 4 |  | used the cross from the fixation message as an anchor and divided the screen into 4 squares
2022-08-18 | p077 | 25 | 1 | F | Anna F. | 3 | 1 | 1 | MemorEEG_distractor_00 | 13:50 | 18:00 | good signal, but then a bit noisy. 6th block: fp2 a little bit wild, later also some others went wild | While preparation the electrodes switched from all green to red very random, I still continued because the signal looked good | Speakers Cabin 4
2022-08-19 | p078 | 29 | 1 | M | Anouk B. | 3 | 0 | 1 | MemorEEG_distractor_00 | 14:00 | 18:30 | AF4 dead, C2 a little noisy, otherwise very good signal | no EOG was recorded: the participant felt a strong burning sensation and had very sensitive skin so we decided to not record EOG, very good accuracy and fixation | Speakers Cabin 4 |  | mentioned that he would forget the item to be remembered once he blinked
2022-08-24 | p079 | 28 | 1 | M | Aleksandra Z. | 1 | 1 | 3 | MemorEEG_distractor_00 | 14:00 | 17:30 | P6, F5 not working properly, EOG a bit noisy at the start; PO7 sometimes noisy; EKG became noisy atfter block 3 | has little hair; performs extremely good, needs little pause; occasional teeth clenching; veeery tall so feels a bit uncomfortable in the setting | Speakers Cabin 4
2022-08-26 | p080 | 29 | 1 | M | Aleksandra Z. | 1 | 0 | 3 | MemorEEG_distractor_00 | 13:30 | 18:30 | eyetracker sometimes doesnt pick up good signal with glasses (due to movement, especially in the beginning of the blocks); AF4 dead | gets emotional when incorrect/slow response, blinks quite a lot - eyes quickly got tired, but overall good performance; some fixation messages (mostly bc glasses and blinks - see signal info); says the lighthouse orientation was particularly difficult to remember; rare teeth clenching | Speakers Cabin 4